## Introduction
Service Line Inventory Template
Date last updated: July 27, 2022
What is the purpose of this template? The purpose of this draft template is to help water systems and states comply with the service line inventory requirements of the January 15, 2021 Lead and Copper Rule Revisions (LCRR). This template supplements the draft EPA document, Guidance for Developing and Maintaining a Service Line Inventory (2022) by providing fillable forms and tables that water systems can use to document their methods, organize their inventory, submit the initial inventory and inventory updates to the state, and document how they are making the inventory publicly available. This template also provides a checklist for state review. Note that EPA does NOT require systems use this template for their inventory. Refer to EPA's 2022 Inventory Guidance for minimum LCRR inventory requirements, recommendations, and disclaimers.
How is the template organized?
The worksheets in this template are color coded: Yellow sheets are instructions and background. Dark blue sheets are templates for systems. The dark green sheet is a template for states. See the table below for a description of each worksheet. |  | The cells in this template are also color coded: Gray cells are background or instructions. Light blue cells are fillable cells for systems. Aqua cells are the required fields in the Detailed Inventory worksheet. Light green cells are fillable cells for states.
Template Organization
Worksheet Type | Worksheet Name | Description
Background | Template Instructions_System | Contains detailed instructions for systems.
| Template Instructions_States | Contains detailed instructions for states.
| Classifying SLs | Summarizes requirements for classifying the entire service line when ownership is split (i.e., when the system owns a portion and the customer owns a portion).
Templates for Water Systems | PWS Information | For systems to document basic system information.
| Inventory Methods | For systems to document the methods and resources they used to develop and update their inventory.
| Inventory Summary | For systems to provide a summary of their service line inventory, including information on ownership, inventory format, and the number of service lines for each of the four required materials classifications. Systems can enter the totals into this worksheet or automatically generate totals based on information in the Detailed Inventory worksheet.
| Detailed Inventory | Provides a customizable format water systems can use to track materials for each service line in their distribution system. Each row equals one service line connecting the water main to the customer's plumbing. Separate columns track location information, the system-owned portion, the customer-owned portion, other possible sources of lead, information for assigning a tap sample tiering classification, and information for lead service line replacement (LSLR). Systems can customize the worksheet by adding or deleting columns.
| Public Accessibility Doc. | For systems to provide documentation to states on how they met the public accessibility requirements of the LCRR.
Templates for States | State Checklist | Provides a checklist that states can use to determine and document if water systems met all of the January 15, 2021 LCRR requirements for their Initial Inventory including timely submission, required elements, use of information sources, public accessibility, and public notification of service line materials.

## Dropdowns (hidden)
Drop down lists (Internal, DO NOT MODIFY)
Ownership | Basis of materials classification | Field Verification Methods
Select Ownership Type | Previous Materials Evaluation | Customer self-identification
The entire service line is owned by the water system | Installation record (e.g., tap card) | CCTV investigation at curb stop - internal
The entire service line is owned by the customer | Installation date after lead ban | CCTV investigation at curb stop - external
Ownership is split, meaning that the system owns and portion and the customer owns a portion | Service line diameter is > 2 inches | Water quality sampling
Other | Service line repair or replacement record | Mechanical excavation at one location
| Predictive model | Mechanical excavation at multiple locations
| Water sampling only with no records | Visual inspection at the meter pit
| Field inspection only with no records | Other
Other
State review of customer notification of service line material
Select "Yes", "No", or "N/A"
Yes
No
N/A
Sensitive subpopulations
No
Yes - School
Yes - Day Care
Yes - Multifamily Home
Yes - Other

## Classifying SLs
Classifying the Entire Service Line When Ownership Is Split
Purpose of this worksheet: To summarize EPA's requirements for classifying the entire service line when ownership is split.
Introduction
In many cases, service line ownership is split meaning that the system owns a portion and the customer owns a portion of the service line. Exhibit 1 below is a diagram of a possible division in service line ownership between the water system and customer. While the LCRR requires the inventory to categorize each service line or portions of the service line where ownership is split, a single classification per service line is also needed to support various LCRR requirements, such as lead service line replacement (LSLR), tap sampling, and risk mitigation. Table 1 below indicates how to classify the material for the entire service line when ownership is split between the water system and customer. For more information, see EPA's, Guidance for Developing and Maintaining a Service Line Inventory (2022).
Exhibit 1. Example of Service Line Ownership Distinction between the Water System and Customer
Source: Exhibit 2-2 of Guidance for Developing and Maintaining a Lead Service Line Inventory (USEPA, 2022).
Table 1: Classification of Entire Service Line When Ownership is Split
System-Owned Portion | Customer-Owned Portion | Classification for Entire Service Line
Lead | Lead | Lead
Lead | Galvanized Requiring Replacement | Lead
Lead | Non-lead | Lead
Lead | Lead Status Unknown | Lead
Non-lead | Lead | Lead
Non-lead and never previously lead | Non-lead, specifically galvanized pipe material | Non-lead
Non-lead | Non-lead, material other than galvanized | Non-lead
Non-lead | Lead Status Unknown | Lead Status Unknown
Non-lead, but system is unable to demonstrate it was not previously Lead | Galvanized Requiring Replacement | Galvanized Requiring Replacement
Lead Status Unknown | Lead | Lead
Lead Status Unknown | Galvanized Requiring Replacement | Galvanized Requiring Replacement
Lead Status Unknown | Non-lead | Lead Status Unknown
Lead Status Unknown | Lead Status Unknown | Lead Status Unknown
Source: Exhibit 2-3 of Guidance for Developing and Maintaining a Service Line Inventory (USEPA, 2022).

## PWS Information
PWS Information
Purpose of this worksheet: For water systems to document basic system information.
Facility Information
Water System Name:
University of Central Florida
PWSID: | Population Served (number of people): | Number of Service Connections: | PWS Type:
3480409 | 40107 | 249 | CWS NTNCWS
If you are a CWS, do multi-family residences comprise at least 20% of the structures you serve? |  |  | Yes
Mailing Address
Street or P.O. Box:
3528 North Perseus Loop Bldg. 16A
City or Town: |  | State: | Zip Code:
Orlando |  | FL | 32816
System Contact Person
Name: |  | Title:
Duane Siemen |  | AVP Utilities & Engineering Services
Telephone: |  | Email:
407-823-3010 |  | duane.siemen@ucf.edu
Person Who Prepared Inventory (if different from above)
Name: |  | Title/Affiliation:
Gordon Dehler/ updated by Dr. Cormier in collaboration with operator and other UCF UES operations staff |  | Lead Class A Operator / Engineer II
Telephone: |  | Email:
407-221-3409/ 407-434-1836 |  | gordon.dehler@ucf.edu/ jessica.cormier@ucf.edu

## Inventory Methods
Inventory Methodology
PWS Name: University of Central Florida
PWSID: 3480409
Enter Date Last Updated: | 2024-10-14
Purpose of this worksheet: For water systems to document the methods and resources they used to develop and update their inventory.
Part 1: Historical Records Review
Type of Record | Describe the Records Reviewed for Your Inventory and Indicate Your Level of Confidence (e.g., Low, Medium, or High)
1. Previous Materials Evaluation Example: Locations of Tier 1 lead tap sampling locations that are served by a lead service line.
2. Construction Records and Plumbing Codes Examples: Local ordinance adopting an international plumbing code. Permits for replacing lead service lines. | All data is taken from building records and/or As-built plans. Confidence- High
3. Water System Records Examples: Capital improvement plans. Standard operating procedures. Engineering standards.
4. Distribution System Inspections and Records Examples: Distribution system maps. Tap cards. Service line repair/replacement records. Inspection records. Meter installation records. | The utility has a robust GIS department. Our table and detailed inventory uses a unique service line ID for each service connection. Confidence - High
5. Additional Records Required by Your State
6. Other Records | We have 53 service line connections built before 1989. All of our building including housing, have above ground meter assemblies showing both pipe material on each side of the meter. These facilities and service lines were either visited or researched to ensure of piping materials. Records on file.
Part 2: Identifying Service Line Material During Normal Operations
1. During which normal operating activities are you collecting information on service line material? Check all that apply.
Water meter reading | Water main repair or replacement
Water meter repair or replacement | Backflow prevention device inspection
Service line repair or replacement | Other
If "Other", please explain:
2. Did you develop or revise standard operating procedures to collect service line material information during normal operation? |  | Yes
If "Yes", please describe:
Using GIS, we updated any new connections with a Unique Service Line ID.
Part 3: Service Line Investigations
1. Identify the service line investigation methods your system used to prepare the inventory (check all that apply). If a water system chooses an investigation method not specified by the state under 40 CFR §141.84(a)(3)(iv), state approval is required. Note that investigations are not required by the LCRR but can be used by systems to assess accuracy of historical records and gather information when service line material is unknown.
Visual Inspection at the Meter Pit | Water Quality Sampling - Other
Customer Self-Identification | Mechanical Excavation
CCTV Inspection at Curb Box - External | Vacuum Excavation
CCTV Inspection at Curb Box - Internal | Predictive Modeling
Water Quality Sampling - Targeted | Other
Water Quality Sampling - Flushed
Water Quality sampling - Sequential
If "Other", please explain:
Fifty-Three service connections were identified as being built prior to 1989. We reviewed building AS-Builts for each of the 53 locations and performed field verification by scratch test on the service piping of these structures. Confidence- High. We have also had meter replacement where the pipe material was identified and confirmed as non-lead.
2. If "Predictive Modeling", please briefly describe the model and inputs used:
3. How did you prioritize locations for service line materials investigations? For example, did you consider environmental justice and/or sensitive populations, did you use predictive modeling, and/or did you target areas with high number of unknowns?
Date of Building Construction. Also during meter or back flow replacement activities where the pipe material was exposed and field verified as non-lead.

## Inventory Summary
Inventory Summary
PWS Name: University of Central Florida
PWSID: 3480409
Enter Date Last Updated: | 2025-11-13
Purpose of this worksheet: For water systems to provide a summary of their service line inventory, including information on ownership, inventory format, and the number of service lines for each of the four required materials classifications.
Part 1. General Information
1. Is this the Initial Inventory or an Inventory Update? |  | Inventory Update
2a. Who owns the service lines in your system? If other, please explain below. |  | Ownership is split, meaning that the system owns and portion and the customer owns a portion
The University Utility owns and operates the PWS and treats the University as a customer with additional support services provided.
2b. Is there documentation that defines service line ownership in your system, such as a local ordinance? If yes, please describe below and explain where ownership is split (e.g., property line, curb stop). |  | Yes
All distribution components up to the meter and backflow are owned and operated by the PWS, and the University Utility (UES); Past the meter is building/facilities operation responsibility, and there are 16 additional connections that are private connections after the meter.
3a. Describe when lead service lines were generally installed in your system.
Never
3b. When were lead service lines banned in your system? Reference the state or local ordinance that banned the use of lead in your system.
1989 Florida and Local Ordinances
4. Do you have lead goosenecks, pigtails or connectors in your system? |  | No
5. What is your overall level of confidence in the inventory (i.e., "Low", "Medium", or "High.") Please explain your rationale below.
High
Part 2. Inventory Format
Describe your inventory format in the space provided below (e.g., the Detailed Inventory worksheet, custom spreadsheet, GIS map). Provide the filename and/or web address if applicable. Note that the state may require you to submit your detailed inventory of each service line in your distribution system.
Detailed Inventory
Part 3. Inventory Summary Table 1
If you are using the Detailed Inventory worksheet, the classifications you select in the Column "Entire Service Line Material Classification" (Column X) will be used to calculate the total number of service lines for each of the four material classifications below. Otherwise, enter the number of service lines in the aqua-colored cells. Remember this is the classification for the entire service line.
Service Line Material Classification | Definition |  | Total Number of Service Lines (REQUIRED to be reported under the LCRR)
Lead | Any portion of the service line is known to be made of lead.2 |  | 0
Galvanized Requiring Replacement (GRR) | The service line is not made of lead, but a portion is galvanized and the system is unable to demonstrate that the galvanized line was never downstream of a lead service line. |  | 0
Non-Lead | All portions of the service line are known NOT to be lead or GRR through an evidence-based record, method, or technique. |  | 249
Lead Status Unknown | The service line material is not known to be lead or GRR. For the entire service line or a portion of it (in cases of split ownership), there is not enough evidence to support material classification. |  | 0
TOTAL |  |  | 249
Notes
1 This summary table is for reporting material for the entire service line connecting the water main to the customer's plumbing. See the Classifying SLs worksheet for additional guidance on assigning a materials classification to the entire service line when ownership is split. Remember that systems must track the system-owned and customer-owned portions separately in their inventory.
2 A lead-lined galvanized service line is consistent with the definition of an LSL under the LCRR (“a portion of pipe that is made of lead, which connects the water main to the building inlet”) (40 CFR §141.2) and must therefore be classified in the inventory as an LSL. Do NOT, however, count non-lead service lines with a lead gooseneck or pigtail as lead service lines unless required by your state.

## Detailed Inventory
Detailed Inventory
PWS Name: University of Central Florida
PWSID: 3480409
Date Last Updated:
Purpose of this worksheet: To provide a customizable format water systems can use to track materials for each service line in their distribution system. General Instructions: Each row in this worksheet represents one service line connecting the water main to the customer's plumbing. The worksheet includes required and recommended elements; the columns with the aqua shading are required by the LCRR. Systems can customize by adding or deleting columns. Important notes for each column are in Row 12; also see the Template Instructions worksheet for detailed instructions. Note that users can freeze panes to enable them to see the headings and notes when entering data. The worksheet includes examples in rows 13 - 20 and is formatted for approximately 10,000 entries.
Location Information |  |  |  |  | System-Owned Portion | [8 empty] | Customer-Owned Portion | [7 empty] | Entire Service Line Material Classification | Other Potential Sources of Lead |  |  | Additional Information to Assign Tap Monitoring Tiering |  |  |  | Lead Service Line Replacement (LSLR)
Unique Service Line ID | Location Identifier |  | Sensitive Population? (Yes/No) | Disadvantaged Neighborhood? (Yes/No) | System-Owned Portion Service Line Material Classification | If Non-Lead in Column G, Was Material Ever Previously Lead? | Service Line Installation Date | Service Line Size | Basis of Material Classification | Was the Service Line Material Field Verified? | If "Yes" Service Line Material Was Field Verified: |  | Notes | Customer-Owned Portion Service Line Material Classification | Service Line Installation Date | Service Line Size | Basis of Material Classification | Was the Service Line Material Field Verified? | If "Yes" Service Line Material Was Field Verified: |  | Notes |  | Is there a Lead Connector? | Is there Lead Solder in the Service Line? | Describe Other Fittings and Equipment Connected to the Service Line that Contain Lead | Building Type Connected to Service Line | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed Before Your State's Lead Ban (Generally 1986 - 1988)? | Current LCR Sampling Site? | Date of System-owned LSLR | Date of Customer-owned LSLR
| Street Address | Other Location Identifier | [8 empty] | Describe the Field Verification Method | Enter the Date of Field Verification | [6 empty] | Describe the Field Verification Method | Enter the Date of Field Verification
A Unique ID is recommended for each service line. | Water systems must track addresses of all service lines in their internal inventory. For the publicly accessible version, location identifiers are required for lead and galvanized requiring replacement. If the system does not use addresses for their location identifier, other options could include GPS coordinates, landmark, intersection, block, or other details to specify service line locations. |  | Select Yes if sensitive subpopulation, e.g., day care, school, multifamily home. If Yes-Other, describe in the Notes field. | Does location meet state affordability guidelines or other measures? | Dropdown list includes recommended subclassifications. If "Non-Lead Other", describe in Notes field | Select Yes, No, or Don't know. Important for determining if downstream/ customer-owned galvanized service line requires replacement | Date, year, or estimated date range when the service line was installed or replaced | Diameter in inches | Select option from drop down list. If "Other," describe in the Notes field | Select Yes or No | Select option from drop down list. If "Other," describe in the Notes field | Enter approximate date of field verification or date that the record was updated | Can use this field for documenting additional relevant information, including when classification changes. | Dropdown list includes recommended subclassifications. If non-lead other, describe in Notes field. | Date, year, or estimated date range when the service line was installed or replaced | Diameter in inches | Select option from drop down list. If "Other," describe in the Notes field | Select Yes or No | Select option from drop down list. If "Other," describe in the Notes field | Enter approximate date of field verification or date that record was updated | Can use this field for documenting additional relevant information, including when classification changes. | Dropdown list includes four required service line classifications of Lead, Non-lead, Galvanized Requiring Replacement, or Unknown | For example, lead gooseneck or pigtail where the water main is connected to the service line | Select Yes, No, or Don't Know | For example, backflow preventer or meter containing lead | Note: This information may be helpful for identifying lead tap monitoring locations.
WSLC001 | 12 | Mathematical Sciences Building | Yes - School | No | Non-Lead - Other | No | 1967-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-04-22 | Lead and Copper sampling 2023: [0.0022-I ppm Pb], [0.045-I ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC002 | 2 | John C. Hitt Library "A" | Yes - School | No | Non-Lead - Other | No | 1967-01-01 | 4 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-03-20 | Lead and Copper sampling 2023: [0.0011-I ppm Pb], [0.20 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC003 | 7 | Jimmie A. Ferrell Student Services Commons A | Yes - School | No | Non-Lead - Copper | No | 1967-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-03-20 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building
WSLC004 | 7 | Jimmie A. Farrell Student Services Commons C | Yes - School | No | Non-Lead - Copper | No | 1967-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-04-22 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building
WSLC005 | 3 | South Utility Plant | Yes - Other | No | Galvanized | No | 1968-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-06 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [0.024 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC006 | 4 | Stormwater Research Lab | Yes - School | No | Non-Lead - Copper | No | 1968-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2023-06-14 | Lead and Copper sampling 2023: [0.0010-U ppm Pb], [0.05 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC144 | 3 | South Utility Plant "Tower Makeup" | No | No | Non-Lead - Copper | No | 1968-01-02 | 6 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2023-06-14 | [9 empty] | Non-Lead | No | No
WSLC165 | 4 | Wastewater Lift Station 4B | No | No | Non-Lead - Plastic | No | 1968-01-02 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Other
WSLC007 | 5 | Chemistry Building | Yes - School | No | Non-Lead - Copper | No | 1968-07-19 | 4 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-06 | Lead and Copper sampling 2023: [0.0010-U ppm Pb], [0.39 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC008 | 6 | Theatre "A" | Yes - School | No | Non-Lead - Other | No | 1968-07-19 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-06 | Lead and Copper sampling 2023: [0.0010-U ppm Pb], [0.29 ppmCu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC009 | 14 | Howard Phillips Hall | Yes - School | No | Non-Lead - Other | No | 1969-07-19 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC010 | 7 | Jimmie A. Ferrell Student Services Commons F | Yes - School | No | Non-Lead - Other | No | 1972-08-30 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC011 | 7 | Jimmie A. Ferrell Student Services Commons G | Yes - School | No | Non-Lead - Other | No | 1972-08-30 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC012 | 7 | Jimmie A. Ferrell Student Services Commons G & F | Yes - School | No | Non-Lead - Other | No | 1972-08-30 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC013 | 19 | Rehearsal Hall | Yes - School | No | Non-Lead - Copper | No | 1974-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2023-06-14 | Lead and Copper sampling 2023: [0.0010-U ppm Pb], [1.1 ppmCu] | Non-Lead - Copper |  | 2 | Field inspection only with no records | Yes | Visual inspection at the meter pit | 2025-10-30 |  | Non-Lead | No | No |  | Building |  |  | Yes
WSLC014 | 16 | Facilities & Safety A (Admin) | Yes - School | No | Non-Lead - Copper | No | 1974-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | Lead and Copper sampling 2023: [0.0010-U ppm Pb], [0.16 ppmCu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC015 | 16 | Facilities & Safety A (Admin) | Yes - School | No | Non-Lead - Copper | No | 1974-01-01 | 1.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC016 | 16 | Facilities & Safety A (Admin) | Yes - School | No | Non-Lead - Copper | No | 1974-01-01 | 1.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-14 | [9 empty] | Non-Lead | No | No |  | Building
WSLC017 | 16 | Facilities & Safety B (Auto Repair) | No | No | Non-Lead - Copper | No | 1974-01-01 | 0.75 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC018 | 16 | Facilities & Safety B (Auto Repair) | No | No | Non-Lead - Copper | No | 1974-01-01 | 0.75 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC019 | 16 | Facilities & Safety D (UES) | Yes - Other | No | Non-Lead - Copper | No | 1974-01-01 | 1 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC020 | 16 | Facilities & Safety D (UES) | Yes - Other | No | Non-Lead - Copper | No | 1974-01-01 | 0.75 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC021 | 16 | Facilities & Safety C (LNR) | Yes - Other | No | Non-Lead - Copper | No | 1974-05-11 | 1.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-13 | [9 empty] | Non-Lead | No | No |  | Building
WSLC022 | 20 | Biological Sciences Building "A" | Yes - School | No | Non-Lead - Other | No | 1975-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-05-20 | [9 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC023 | 21 | Education Complex & Gym | Yes - School | No | Non-Lead - Plastic | No | 1975-02-20 | 4 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-05 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building
WSLC024 | 22 | Print Shop | Yes - Other | No | Non-Lead - Copper | No | 1976-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-05 | Lead and Copper sampling 2023: [0.0047-I ppm Pb], [0.72 ppmCu] | Non-Lead - Copper |  |  | Field inspection only with no records | Yes | Visual inspection at the meter pit | 2025-10-29 |  | Non-Lead | No | No |  | Building |  |  | Yes
WSLC025 | 24 | Creative School for Children 1 | Yes - Day Care | No | Non-Lead - Copper | No | 1976-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-05 | (WRONG PLACEMENT) - LABLED BLDG 2 not #1 (DID NOT SAMPLE) Lead and Copper sampling 2023 | [8 empty] | Non-Lead | No | No |  | Other |  |  | Yes
WSLC026 | 27 | Couseling & Psychological Services | Yes - School | No | Non-Lead - Copper | No | 1979-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-05 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building
WSLC027 | 26 | John T. Washington Center "A" | Yes - School | No | Non-Lead - Copper | No | 1979-01-01 | 1.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-05 | Lead and Copper sampling 2023: [0.0010-U ppm Pb], [0.77 ppmCu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC028 | 26 | John T. Washington Center "B" | Yes - School | No | Non-Lead - Copper | No | 1979-01-01 | 2.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC079 | N/A | Research Park Interconnect | Yes - Other | No | Non-Lead - Other | No | 1980-12-31 | 16 | Other | Yes | Visual inspection at the meter pit | 2024-08-15 | Interconnect with PWSID: 3484264 | [8 empty] | Non-Lead | No | No
WSLC029 | 30 | Brevard Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1982-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-18 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC030 | 31 | Orange Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1982-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2023-06-14 | Lead and Copper sampling 2023; [0.0014-I ppm Pb], [0.87 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC031 | 32 | Seminole Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1982-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2023-06-14 | Lead and Copper sampling 2023; [0.0029-I ppm Pb], [1.1 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC032 | 33 | Libra Community Center | Yes - School | No | Non-Lead - Plastic | No | 1982-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-18 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building
WSLC033 | 6 | Theatre "B" | Yes - School | No | Non-Lead - Plastic | No | 1982-05-03 | 2.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-08 | [9 empty] | Non-Lead | No | No |  | Building
WSLC034 | N/A | Siemens interconnect | Yes - Other | No | Non-Lead - Plastic | No | 1983-01-01 | 10 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-18 |  | Non-Lead - Other | 1983-01-01 | 10 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-25 |  | Non-Lead | No | No |  | Other |  |  | No
WSLC035 | 40 | Engineering I | Yes - School | No | Non-Lead - Other | No | 1984-01-01 | 4 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2023-06-14 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [1.1 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC036 | 403 | Delta Delta Delta | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1984-01-01 | 2.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-12 | Lead and Copper sampling 2023; [0.0041-I ppm Pb], [0.15 ppm Cu] | Non-Lead - Plastic | 1984-01-01 | 2.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-12 |  | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC037 | 403 | Delta Delta Delta | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1984-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-12 | Lead and Copper sampling 2023; [0.0041-I ppm Pb], [0.15 ppm Cu] | Non-Lead - Plastic | 1984-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-12 |  | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC038 | 404 | Alpha Xi Delta | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 | Optional LCR Sampling Site | Non-Lead - Plastic | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 |  | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC039 | 405 | Pi Beta Phi | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 | Optional LCR Sampling Site | Non-Lead - Plastic | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 |  | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC040 | 406 | Alpha Delta Pi | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 | Optional LCR Sampling Site | Non-Lead - Plastic | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC041 | 407 | Kappa Delta | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 | Optional LCR Sampling Site | Non-Lead - Plastic | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC042 | 409 | Theta Chi | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 | Optional LCR Sampling Site | Non-Lead - Plastic | 1984-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC043 | 2 | John C. Hitt Library "B" | Yes - School | No | Non-Lead - Other | No | 1984-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-03-20 | [9 empty] | Non-Lead | No | No |  | Building
WSLC044 | 7 | Jimmie A. Farrell Students Services Commons H | Yes - School | No | Non-Lead - Plastic | No | 1984-11-19 | 2.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-12 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building
WSLC045 | 401 | Zeta Tau Alpha | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1985-01-01 | 1 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 | Optional LCR Sampling Site | Non-Lead - Plastic | 1985-01-01 | 1 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-06-26 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC046 | 27 | Couseling & Psychological Services (Hose Bib) | Yes - School | No | Non-Lead - Copper | No | 1985-02-03 | 1.25 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-01 | Water Quality Sampling Location | [8 empty] | Non-Lead | No | No |  | Building
WSLC047 | 44 | Siemens Energy Center | Yes - School | No | Non-Lead - Plastic | No | 1986-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-08-21 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building
WSLC048 | 410 | Alpha Tau Omega | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1989-01-01 | 1.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 | Optional LCR Sampling Site | Non-Lead - Plastic | 1989-01-01 | 1.5 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 |  | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC049 | 412 | Sigma Chi | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1989-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 | Optional LCR Sampling Site | Non-Lead - Plastic | 1989-01-01 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC050 | 413 | Kappa Sigma | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1989-01-01 | 1 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 | Optional LCR Sampling Site | Non-Lead - Plastic | 1989-01-01 | 1 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC051 | 49 | Emergency Operations Center | Yes - School | No | Non-Lead - Plastic | No | 1989-08-21 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 | [9 empty] | Non-Lead | No | No |  | Building
WSLC052 | LS04 | Student Union Liftstation | Yes - School | No | Non-Lead - Plastic | No | 1990-10-25 | 1 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-07-14 | [9 empty] | Non-Lead | No | No
WSLC053 | 401 | Zeta Tau Alpha | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1991-01-01 | 1 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-07-14 | Optional LCR Sampling Site | Non-Lead - Plastic | 1991-01-01 | 1 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC055 | 51 | Visual Arts Building "A" | Yes - School | No | Non-Lead - Plastic | No | 1991-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-26 | [9 empty] | Non-Lead | No | No |  | Building
WSLC056 | 51 | Visual Arts Building "B" | Yes - School | No | Non-Lead - Plastic | No | 1991-01-01 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [0.62 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC057 | 52 | Student Union "A" | Yes - School | No | Non-Lead - Plastic | No | 1992-01-01 | 8 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-26 | [9 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC058 | 411 | Kappa Alpha Theta | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-06-05 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-07-14 | Optional LCR Sampling Site | Non-Lead - Plastic | 1992-06-05 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-07-14 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC059 | 338 | F & S Fuel Island | No | No | Non-Lead - Plastic | No | 1992-06-11 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC060 | 339 | E-85 Filling Station | No | No | Non-Lead - Plastic | No | 1992-06-11 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No
WSLC061 | 58 | Lake Claire Building 58 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-08-14 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC062 | 16 | Facilities & Safety E (Warehouse) | Yes - Other | No | Non-Lead - Plastic | No | 1992-09-01 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC063 | 16 | Facilities & Safety E (Warehouse) | Yes - Other | No | Non-Lead - Plastic | No | 1992-09-02 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC064 | 55 | Lake Claire Building 55 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC065 | 56 | Lake Claire Building 56 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC066 | 57 | Lake Claire Building 57 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC067 | 59 | Lake Claire Building 59 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC068 | 60 | Lake Claire Building 60 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC069 | 61 | Lake Claire Building 61 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC070 | 62 | Lake Claire Building 62 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC071 | 63 | Lake Claire Building 63 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC072 | 64 | Lake Claire Building 64 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC073 | 65 | Lake Claire Building 65 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [0.069 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC074 | 66 | Lake Claire Building 66 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC075 | 67 | Lake Claire Building 67 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC076 | 68 | Lake Claire Building 68 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC077 | 69 | Lake Claire Building 69 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC078 | 70 | Lake Claire Building 70 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1992-09-18 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC080 | 50 | Addition Financial Arena (Venue) | Yes - School | No | Non-Lead - Plastic | No | 1993-01-01 | 3 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [0.072 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC081 | 402 | Scholarship House | Yes - School | No | Non-Lead - Plastic | No | 1993-03-04 | 1.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [0.61 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC082 | 53 | CREOL Building "A" | Yes - School | No | Non-Lead - Plastic | No | 1993-03-10 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC083 | 74 | Robinson Observatory | Yes - School | No | Non-Lead - Plastic | No | 1994-01-01 | 1.25 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC084 | 28 | Creative School for Children 2 | Yes - Day Care | No | Non-Lead - Plastic | No | 1994-01-02 | 1.5 | Installation record (e.g., tap card) | Yes | Other | 2024-06-05 | Lead and Copper sampling 2023: [0.0010-U ppm Pb], [0.25 ppmCu] | [8 empty] | Non-Lead | No | No |  | Other |  |  | Yes
WSLC085 | 71 | Barbara Ying Center | Yes - School | No | Non-Lead - Plastic | No | 1994-12-02 | 2 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023: [0.0010-U ppm Pb], [0.62 ppmCu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC086 | 76 | Engine Research Lab | Yes - School | No | Non-Lead - Copper | No | 1994-12-05 | 0.75 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC087 | 54 | College of Sciences Building | Yes - School | No | Non-Lead - Plastic | No | 1996-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC088 | 72 | Chilled Water Plant (Satellite Utility Plant) | Yes - Other | No | Non-Lead - Plastic | No | 1996-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC089 | 75 | Nicholson School of Communication | Yes - School | No | Non-Lead - Plastic | No | 1996-02-08 | 3 | Installation date after lead ban | No | Visual inspection at the meter pit | 2024-02-14 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC090 | 73 | Housing Administration Building | Yes - School | No | Non-Lead - Plastic | No | 1996-04-08 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC091 | 85 | Citrus Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1996-12-31 | 4 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.0012-I ppm Pb], [1.2 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC092 | 84 | Sumter Hall | Yes - Multifamily Home | No | Non-Lead - Copper | No | 1997-01-05 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-18 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC093 | 305 | Housing Water Heater Building | No | No | Non-Lead - Plastic | No | 1997-03-23 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC095 | 86 | Flagler Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 1997-06-19 | 3 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [0.71 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence |  |  | Yes
WSLC096 | 79 | Classroom Building I | Yes - School | No | Non-Lead - Other | No | 1998-07-10 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC097 | 52 | Student Union "B" | Yes - School | No | Non-Lead - Plastic | No | 1998-12-22 | 4 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [1.1 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC098 | 80 | Health & Public Affairs I | Yes - School | No | Non-Lead - Plastic | No | 1999-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC099 | 91 | Engineering II | Yes - School | No | Non-Lead - Plastic | No | 1999-04-15 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC100 | 82 | John Euliano Park (Field Maintenance) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC101 | 82 | John Euliano Park (Field Maintenance) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Other
WSLC102 | 82 | John Euliano Park (Visitor Bullpen) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-01 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No
WSLC103 | 82 | John Euliano Park (Home Bullpen) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-01 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No
WSLC104 | 82 | John Euliano Park (Away Dugouts) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-09 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC105 | 82 | John Euliano Park (Offices) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-09 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No
WSLC106 | 82 | John Euliano Park (Women's South) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-09 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No
WSLC107 | 82 | John Euliano Park (Away Dugouts) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-09 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No
WSLC108 | 82 | John Euliano Park (Men's) | Yes - School | No | Non-Lead - Plastic | No | 1999-06-18 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No
WSLC109 | 89 | Parking Garage B | No | No | Non-Lead - Plastic | No | 1999-12-31 | 2 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-03-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC110 | 25 | Recreation Support Building | Yes - School | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC111 | 101 | Nike Bldg 101-AV1 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC112 | 102 | Nike bldg 102-AV2 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC113 | 104 | Nike bldg 104-AV4 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC114 | 104 | Nike bldg 104-AV4 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC115 | 104 | Nike bldg 104-AV4 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC116 | 104 | Nike bldg 104-AV4 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC117 | 104 | Nike bldg 104-AV4 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC118 | 106 | Nike Bldg 106-AV6 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC119 | 106 | Nike Bldg 106-AV6 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC120 | 107 | Nike Bldg 107-AV7 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC121 | 108 | Hercules Bldg 108-AV8 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC122 | 109 | Hercules Bldg 109-AV9 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC123 | 110 | Hercules Bldg 110-AV10 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC124 | 111 | Hercules Bldg 111-AV11 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC125 | 111 | Hercules Bldg 111-AV11 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC126 | 111 | Hercules Bldg 111-AV11 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC127 | 112 | Hercules Bldg 112-AV12 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC128 | 113 | Hercules Bldg 113-AV13 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC129 | 113 | Hercules Bldg 113-AV13 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC130 | 114 | Hercules Bldg 114-AV14 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC131 | 111 & 112 | Hercules Bldg 111-AV11/112-AV12 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC132 | 111 & 112 | Hercules Bldg 111-AV11/112-AV12 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC133 | 113 & 114 | Hercules Bldg 113-AV13/114-AV14 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2000-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC134 | 90 | Health Sciences II | Yes - School | No | Non-Lead - Plastic | No | 2000-02-16 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC135 | 88 | Recreation & Wellness Center "A" | Yes - School | No | Non-Lead - Plastic | No | 2000-06-23 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC136 | 81 | Barbara Ying Center - CMMS | Yes - School | No | Non-Lead - Plastic | No | 2001-02-26 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC137 | 97 | Parking Garage D | No | No | Non-Lead - Plastic | No | 2001-08-29 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC138 | 95 | Burnett Honors College | Yes - School | No | Non-Lead - Plastic | No | 2002-01-01 | 2.5 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.0011-I ppm Pb], [0.44 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC139 | 21 | Education Complex & Gym (Einstein Bagels) | Yes - School | No | Non-Lead - Copper | No | 2002-01-23 | 1 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC140 | 93 | Teaching Academy | Yes - School | No | Non-Lead - Plastic | No | 2002-01-24 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC141 | 96 | Duke Energy University Welcome Center | Yes - School | No | Non-Lead - Plastic | No | 2002-11-22 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC142 | 20 | Biological Sciences Building B (Lab Supply) | Yes - School | No | Non-Lead - Plastic | No | 2002-12-03 | 2.5 | Installation record (e.g., tap card) | Yes | Other | 2024-05-20 | [9 empty] | Non-Lead | No | No |  | Building
WSLC143 | 20 | Biological Sciences Building B (Building Supply) | Yes - School | No | Non-Lead - Plastic | No | 2002-12-03 | 3 | Installation record (e.g., tap card) | Yes | Other | 2024-05-20 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [1.3 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC145 | 45 | Business Administration I | Yes - School | No | Non-Lead - Plastic | No | 2003-01-01 | 3 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.43 ppm Pb], [0.31 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC146 | 94 | Business Administration II | Yes - School | No | Non-Lead - Plastic | No | 2003-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC147 | 117 | Ara Dr Research Facility | Yes - School | No | Non-Lead - Plastic | No | 2003-07-07 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC148 | 118 | Leisure Pool Services | Yes - School | No | Non-Lead - Plastic | No | 2003-10-03 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC149 | 77 | Wayne Densch Sports Center | Yes - School | No | Non-Lead - Plastic | No | 2003-12-02 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC150 | 92 | Biology Field Research Center | Yes - School | No | Non-Lead - Plastic | No | 2004-01-01 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC151 | 116 | Harris Corporation Engineering Center | Yes - School | No | Non-Lead - Plastic | No | 2004-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC152 | 126 | Fairwinds Alumni Center | Yes - School | No | Non-Lead - Plastic | No | 2004-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC153 | 127 | Student Health Center | Yes - Other | No | Non-Lead - Plastic | No | 2004-07-06 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC154 | 11 | Polk Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2004-11-15 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC155 | 128 | Nicholson Field House | Yes - School | No | Non-Lead - Plastic | No | 2005-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC156 | 128 & 142 | Nicholson Field House & Soccer Drinking Fountain | Yes - School | No | Non-Lead - Plastic | No | 2005-01-01 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC157 | 142 | Track / Soccer Stadium Water Fountain Only | Yes - School | No | Non-Lead - Plastic | No | 2005-01-01 | 0.75 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC158 | 99 | Psychology Building | Yes - School | No | Non-Lead - Plastic | No | 2005-05-12 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC159 | 147 | Parking Garage A | No | No | Non-Lead - Plastic | No | 2005-07-22 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC160 | 320 | Recreation Services Field Restroom | Yes - School | No | Non-Lead - Plastic | No | 2005-08-16 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC161 | 320 | B320 & Intramural Fields | Yes - School | No | Non-Lead - Plastic | No | 2005-08-16 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC162 | 320 | B320 & Intramural Fields | Yes - School | No | Non-Lead - Plastic | No | 2005-08-16 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC163 | N/A | Intramural Fields (Hose bib) | Yes - School | No | Non-Lead - Plastic | No | 2005-08-16 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC164 | 320 | Recreation Services Field Restroom | Yes - School | No | Non-Lead - Plastic | No | 2005-08-16 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC166 | 320 | Intramural Fields (Hose bib) | Yes - School | No | Non-Lead - Plastic | No | 2005-08-16 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC054 | 50 | Addition Financial Arena (UCF Arena) | Yes - School | No | Non-Lead - Plastic | No | 2006-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-09-18 | [9 empty] | Non-Lead | No | No |  | Building
WSLC169 | 82 | John Euliano Park (Field Maintenance) | Yes - School | No | Non-Lead - Plastic | No | 2006-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC170 | 129 | Tower 1 | Yes - Multifamily Home | No | Non-Lead - Other | No | 2006-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC171 | 130 | Tower 2 | Yes - Multifamily Home | No | Non-Lead - Other | No | 2006-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC172 | 129 & 130 | Service to B129 - B130 from booster pumps | Yes - Other | No | Non-Lead - Other | No | 2006-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC173 | 131 | Parking Garage G | No | No | Non-Lead - Other | No | 2006-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | [9 empty] | Non-Lead | No | No |  | Building
WSLC174 | 10 | Osceola Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2006-02-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-04-04 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC175 | 137 | Knights Plaza | Yes - School | No | Non-Lead - Copper | No | 2006-11-21 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC176 | 132 | Tower 3 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2007-01-02 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC177 | 132 | Tower 3 (Burger U) | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2007-01-02 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC178 | 133 | Tower 4 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2007-01-02 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC179 | 134 | Parking Garage E | No | No | Non-Lead - Plastic | No | 2007-01-02 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC180 | 134 | Parking Garage E (Post Booster) | No | No | Non-Lead - Plastic | No | 2007-01-02 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC181 | 125 | Softball Stadium | Yes - School | No | Non-Lead - Plastic | No | 2007-03-20 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC182 | 125 | Softball Stadium Bathroom | Yes - School | No | Non-Lead - Plastic | No | 2007-03-20 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC183 | 9 | Lake Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2007-05-10 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC184 | 8 | Volusia Hall | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2007-08-08 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-03-04 | Optional LCR Sampling Site | [8 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC185 | 321 | Rec Services Field Maintenance | Yes - School | No | Non-Lead - Plastic | No | 2007-09-04 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC186 | 135 | UCF Stadium Roth Tower | Yes - School | No | Non-Lead - Plastic | No | 2007-10-03 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC187 | 135 | UCF Stadium Concourse | Yes - School | No | Non-Lead - Plastic | No | 2007-10-03 | 8 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC188 | 121 | Physical Sciences | Yes - School | No | Non-Lead - Plastic | No | 2008-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC189 | 152 | AMPAC Research Facility | Yes - School | No | Non-Lead - Plastic | No | 2008-03-12 | 2 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.001-U ppm Pb], [0.66 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC190 | 48 | Laboratory & Environmental Support "A" | Yes - School | No | Non-Lead - Plastic | No | 2008-06-13 | 2 | Installation date after lead ban | No | Visual inspection at the meter pit | 2024-02-14 | [9 empty] | Non-Lead | No | No |  | Building | No | No
WSLC191 | 548 | Football Practice Field | Yes - School | No | Non-Lead - Plastic | No | 2009-01-01 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC195 | N/A | Intramural Fields (Hose bib) | Yes - School | No | Non-Lead - Plastic | No | 2009-03-24 | 1 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Other
WSLC196 | N/A | Intramural Fields (Hose bib) | Yes - School | No | Non-Lead - Plastic | No | 2009-03-24 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Other
WSLC197 | N/A | Intramural Fields (Hose bib) | Yes - School | No | Non-Lead - Plastic | No | 2009-03-24 | 1 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Other
WSLC198 | N/A | Intramural Fields (Hose bib) | Yes - School | No | Non-Lead - Plastic | No | 2009-03-24 | 0.75 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Other
WSLC200 | 140 | Career Services & Experimental Learning | Yes - School | No | Non-Lead - Plastic | No | 2009-04-09 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC201 | 153 | Visitor Parking & Information | Yes - School | No | Non-Lead - Plastic | No | 2009-07-30 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC202 | 88 | Recreation & Wellness Center "B" | Yes - School | No | Non-Lead - Plastic | No | 2009-10-23 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC203 | 119 | Performing Arts Center Music | Yes - School | No | Non-Lead - Plastic | No | 2010-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC204 | 119 | Performing Arts Center Theatre | Yes - School | No | Non-Lead - Plastic | No | 2010-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC205 | 142 | Track / Soccer Stadium | Yes - School | No | Non-Lead - Plastic | No | 2010-10-08 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC206 | 150 | Public Safety Building | Yes - School | No | Non-Lead - Plastic | No | 2010-12-10 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC207 | 13, 29 | Technology Commons I & II | Yes - School | No | Non-Lead - Plastic | No | 2010-12-15 | 4 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | [9 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC208 | 13 | Technology Commons I | Yes - School | No | Non-Lead - Plastic | No | 2010-12-15 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | Lead and Copper sampling 2023; [0.0051 ppm Pb], [0.5 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building
WSLC209 | 29 | Technology Commons II | Yes - School | No | Non-Lead - Plastic | No | 2010-12-15 | 3 | Installation date after lead ban | Yes | Water quality sampling | 2023-06-14 | Lead and Copper sampling 2023; [0.0011-I ppm Pb], [0.73 ppm Cu] | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC210 | 122 | Morgridge International Reading Center | Yes - School | No | Non-Lead - Plastic | No | 2011-01-27 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC211 | 335 | Econ Pavilion (Lake Claire Pavilion 4) | Yes - School | No | Non-Lead - Plastic | No | 2011-02-10 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC212 | 151 | Parking Garage H | No | No | Non-Lead - Plastic | No | 2011-05-13 | 1 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC213 | 154 | MAE/OM Laboratory | Yes - School | No | Non-Lead - Plastic | No | 2011-10-17 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC214 | 156 | Neptune Bldg 156-AV16 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2012-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC215 | 157 | Neptune Bldg 157-AV17 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2012-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC216 | 158 | Neptune Bldg 158-AV18 | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2012-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC218 | 354 | Utility Building 3 (Master Lift Station) | No | No | Non-Lead - Plastic | No | 2012-01-01 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC219 | 354 | Utility Building 3 (Combined Heat & Power Plant) | Yes - Other | No | Non-Lead - Plastic | No | 2012-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC220 | 354 | Utility Building 3 (CHP) & Cooling Tower | No | No | Non-Lead - Plastic | No | 2012-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC221 | 16 | Facilities & Safety A (Admin) VP office | Yes - School | No | Non-Lead - Plastic | No | 2012-01-27 | 0.75 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC222 | 98 | Classroom Building II | Yes - School | No | Non-Lead - Plastic | No | 2012-02-10 | 2.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC223 | 159 | Housing Administrative Services | Yes - School | No | Non-Lead - Plastic | No | 2012-04-12 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC224 | 160 | Libra Garage | Yes - School | No | Non-Lead - Plastic | No | 2013-01-01 | 1.25 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC225 | 415 | Fraternity & Sorority Life | Yes - School | No | Non-Lead - Plastic | No | 2013-06-17 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC226 | 416 | Chi Omega Sorority | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2013-06-17 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Multiple Family Residence
WSLC227 | 417 | Kappa Kappa Gamma | Yes - Multifamily Home | No | Non-Lead - Plastic | No | 2013-06-17 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 |  | Non-Lead - Plastic | 2013-06-17 | 3" | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2013-06-17 |  | Non-Lead | No | No |  | Multiple Family Residence
WSLC228 | 80 | Health & Public Affairs I (Starbucks) | Yes - School | No | Non-Lead - Plastic | No | 2014-05-14 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC229 | 139 | UCF Global | Yes - School | No | Non-Lead - Plastic | No | 2015-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC230 | 72 | Chilled Water Plant (Satellite Utility Plant A) | Yes - Other | No | Non-Lead - Plastic | No | 2015-02-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC231 | 1 | Millican Hall | Yes - School | No | Non-Lead - Plastic | No | 2016-01-01 | 3 | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2024-04-29 | Lead and Copper sampling 2023: [0.0099ppm] mg/L Pb, [0.73ppm] mg/L Cu | [8 empty] | Non-Lead | No | No |  | Building |  |  | Yes
WSLC232 | 138 | Chic-Fil-A | Yes - School | No | Non-Lead - Plastic | No | 2016-01-01 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC233 | 136 | Wayne Densch Center for Student-Athlete Leadership | Yes - School | No | Non-Lead - Plastic | No | 2016-05-12 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC234 | 16 | Facilities & Safety F (Warehouse) | Yes - School | No | Non-Lead - Plastic | No | 2016-06-17 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC235 | 163 | Band Practice Building | Yes - School | No | Non-Lead - Plastic | No | 2016-07-12 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC236 | 48 | Laboratory & Environmental Support "B" | Yes - School | No | Non-Lead - Plastic | No | 2016-09-09 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC237 | 82 | John Euliano Park (Women's North) | Yes - School | No | Non-Lead - Plastic | No | 2017-01-01 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC238 | 82 | John Euliano Park (Concessions) | Yes - School | No | Non-Lead - Plastic | No | 2017-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC239 | 120 | Research I | Yes - School | No | Non-Lead - Plastic | No | 2017-01-01 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-18 | [9 empty] | Non-Lead | No | No |  | Building
WSLC240 | 162 | Facilities Support Building | Yes - Other | No | Non-Lead - Plastic | No | 2017-10-31 | 1.5 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC241 | 143 | DEP IV (Bypass) | Yes - Other | No | Non-Lead - Plastic | No | 2018-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC242 | 143 | DEP IV (Bypass) | Yes - Other | No | Non-Lead - Plastic | No | 2018-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC243 | 143 | DEP IV | Yes - Other | No | Non-Lead - Plastic | No | 2018-01-01 | 6 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC244 | 53 | CREOL Building "B" | Yes - School | No | Non-Lead - Plastic | No | 2018-01-01 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC245 | LS07 | CREOL 2 Lift Station #7 | No | No | Non-Lead - Plastic | No | 2018-01-01 | 1 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Other
WSLC246 | 16 | Facilities & Safety B (Auto Repair) | Yes - Other | No | Non-Lead - Copper | No | 2018-02-17 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC247 | 357 | Ara Hoop Houses | Yes - Other | No | Non-Lead - Plastic | No | 2018-06-01 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC168 | N/A | Ara Dr Auto Flusher (WAFD005) | No | No | Non-Lead - Other | No | 2018-09-26 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Other
WSLC248 | N/A | Research Pkwy Libra Dr Auto Flusher (WAFD006) | No | No | Non-Lead - Plastic | No | 2019-02-10 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC249 | 164 | Pegasus Hotel Building | Yes - Other | No | Non-Lead - Plastic | No | 2019-07-10 | 4 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 |  | Non-Lead - Plastic | 2019-07-10 | 4" | Installation record (e.g., tap card) | Yes | Visual inspection at the meter pit | 2019-07-10 |  | Non-Lead | No | No |  | Building
WSLC167 | N/A | Greek Park Auto Flusher (WAFD001) | No | No | Non-Lead - Other | No | 2019-09-01 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Other
WSLC199 | 331-335 | Lake Claire Pavilions 1-4 (WAFD002) | Yes - Other | No | Non-Lead - Plastic | No | 2019-12-31 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Other
WSLC094 | 130 | Tower 2 Auto Flusher (WAFD003) | No | No | Non-Lead - Plastic | No | 2020-01-01 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2021-04-01 | [9 empty] | Non-Lead | No | No |  | Building
WSLC217 | 125 | Softball Stadium Auto Flusher (WAFD004) | No | No | Non-Lead - Plastic | No | 2020-01-01 | 2 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC194 | 165 | Roth Athletic Center | Yes - School | No | Non-Lead - Plastic | No | 2020-06-16 | 3 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building
WSLC193 | 303 | Electric Substation 1 | No | No | Non-Lead - Plastic | No | 2021-01-09 | 1 | Installation date after lead ban | Yes | Mechanical excavation at one location | 2021-01-09 | Galvanized pipe replacement | [8 empty] | Non-Lead | No | No |  | Building
WSLC192 | N/A | Old Osbourne Ponds | Yes - Other | No | Non-Lead - Plastic | No | 2022-09-01 | 1 | Installation date after lead ban | Yes | Visual inspection at the meter pit | 2024-06-05 | [9 empty] | Non-Lead | No | No |  | Building

## Public Accessibility Doc.
Public Accessibility Documentation
PWS Name: University of Central Florida
PWSID: 3480409
Enter Date Last Updated: | 2025-11-13
Purpose of this worksheet: For systems to provide documentation to states on how they met the public accessibility requirements of the LCRR.
1. Select the location identifiers that you use for your service line inventory. Check all that apply.
Address
Street
Block
Intersection
Landmark
GPS Coordinates
Other
If "Other", please describe:
2. Does every service line have a location identifier? |  | Yes
If "No", explain. Remember that location identifiers are required for service lines that are lead and galvanized requiring replacement.
3. How are you making your inventory publicly accessible? Check all that apply. Remember that if your system serves > 50,000 people, you must provide the inventory online.
Interactive online map
Static online map
Online spreadsheet
Printed service line map
Printed tabular data
Information on water utility mailings or newsletter
Hard copy information available in water system office
Other
If "Other", please describe:
UCF Utilities and Engineering Website

## State Checklist
State Checklist for Initial Inventory Submittal
PWS Name: University of Central Florida
PWSID: 3480409
Enter Date Last Updated:
Purpose of this worksheet: For states to determine and document if water systems met all of the January 15, 2021 Lead and Copper Rule (LCRR) requirements for their Initial Inventory including timely submission, required elements, use of information sources, public accessibility, and public notification of service line materials.
Part 1: Person Completing This Checklist
Name: | Title:
Telephone: | Email:
Part 2: Review for Timely Submission
1. Was the initial inventory submitted by the deadline of October 16, 2024? |  | Select "Yes" or "No"
Consider post-mark or date sent via email or reported into a state data system.
Part 3: Review for Required Elements
1. Does the inventory include all service lines connected to the distribution system? |  | Select "Yes" or "No"
Consider if the total number of service lines in the Inventory Summary worksheet, Part 3, matches sanitary survey and monitoring data in the state’s database (e.g., SDWIS/State) based on population served, number of service connections (including those for non-potable use), number of accounts, census data, or other information.
2. Does the inventory include portions owned by the water system and the customer? |  | Select "Yes" or "No"
Check the service line ownership type selected in the Inventory Summary worksheet, Part 1, Question 2a. If the system selected "Ownership is Split" check that their inventory includes information for both the system-owned and customer-owned portions.
3. Did the system classify all service lines as either Lead, Galvanized Requiring Replacement (GRR), Non-Lead, or Lead Status Unknown? |  | Select "Yes" or "No"
Consider if the system completed each row of the inventory summary table in the Inventory Summary worksheet, Part 3. Some rows may be zero.
4. In the space below, provide additional comments/documentation related to required elements of the system's initial inventory.
Part 4: Review for Information Sources
1. Did the system use the following historical records to prepare their initial inventory: previous materials evaluation, construction and plumbing codes/records, water system records, distribution system inspections and records. |  | Select "Yes" or "No"
Consider if the system identified historical records in each row of the Inventory Methods worksheet, Part 1, Rows 1 through 4. Consider if the system completed Row 5 if additional records are required in your state.
2. Is the system collecting service line material information during normal operations? |  | Select "Yes" or "No"
Consider if the system checked one or more normal operations activities in the Inventory Methods worksheet, Part 2. Consider asking the systems to submit updated or new standard operating procedures documenting service line material information collection.
3. Has the system conducted investigations to verify service line material? |  | Select "Yes" or "No"
This is not required by the LCRR but recommended by EPA to verify historical records and gather information where records do not exist to reduce the number of unknowns in the system as quickly as possible. Consider: • If the system checked one or more of the investigative methods on the Inventory Methods worksheet, Part 3. • If in their inventory, the system indicated that the materials classification was based on investigations. • The number of unknowns - EPA strongly discourages systems from submitting inventories with all unknowns. If all service line materials are lead status unknown, consider asking the water system to conduct investigations.
4. In the space below, provide additional comments related to information sources used to develop the system's initial inventory.
Part 5: Review for Public Accessibility
1. Does the inventory include location identifiers for each service line that is lead or galvanized requiring replacement? |  | Select "Yes" or "No"
Consider checking the inventory for location identifiers and reviewing the system's answers in the Public Accessibility Doc. worksheet, Questions 1 and 2.
2. Did the system make its inventory publicly accessible? |  | Select "Yes" or "No"
Consider reviewing the method by which the water system is making its inventory publicly accessible as identified in the Public Accessibility Doc. worksheet, Question 3. Check that systems serving more than 50,000 people have posted their service line inventories online.
3. In the space below, provide additional comments/documentation related to public accessibility of the system's initial inventory.
Part 6: Review of Customer Notification of Service Line Material
1. Does the water system's inventory consist of all Non-Lead Service lines? |  | Select "Yes" or "No"
If No, complete questions 2 through 5. If Yes, stop here.
2. Did the water system deliver the notification to people served by a lead service line (LSL), GRR, or lead status unknown service line within 30 days of completing the initial inventory? |  | Select "Yes" or "No"
3. Did the water system demonstrate that they delivered the notification and provide a copy of the notification to the state by July 1 for the previous calendar year? |  | Select "Yes" or "No"
4. Did the notification include the required content?
a. For confirmed LSLs, does the notification include: |  | Select "Yes" or "No" or "N/A"
· A statement that the service line material is lead,
· Information on lead health effects including mandatory health effects language of 40 CFR §141.85(a)(ii),
· Steps to minimize exposure to lead in drinking water,
· Opportunities for service line replacement,
· Available financing programs, and
· A statement that the system must replace its portion if the property owners notify the system that
they are replacing their portion?
b. For GRRs, does the notification include: |  | Select "Yes" or "No" or "N/A"
· A statement that the service line material is GRR,
· Information on lead health effects including mandatory health effects language of 40 CFR §141.85(a)(ii),
· Steps to minimize exposure to lead in drinking water, and
· Opportunities for service line replacement?
c. For Unknowns, does the notification include: |  | Select "Yes" or "No" or "N/A"
· A statement that the service line material is lead status unknown,
· Information on lead health effects including mandatory health effects language of 40 CFR §141.85(a)(ii),
· Steps to minimize exposure to lead in drinking water, and
· Opportunities to verify the service line material?
5. If the water system serves communities with a large proportion of non-English speaking consumers, as determined by the state, did they provide public education materials, including those in 40 CFR §141.85(e), in the appropriate language(s) or containing a telephone number or address where persons served may contact the water system to obtain a translated copy of the materials or to request assistance in the appropriate language? |  | Select "Yes" or "No"
6. In the space below, provide additional comments/documentation related to customer notification for people served by an LSL, GRR, or lead status unknown service line.

## Building Conditionals (hidden)
DRAFT | [8 empty] | Form Option For Customer Side | Classification | System-Owned Portion | Was Previously Lead? | Customer-Owned Portion | Classification for Entire Service Line | Single-Owned Portion | Classification for Entire Service Line
| Note to EPA: This is a background sheet to be hidden or deleted | [7 empty] | Lead | Lead | Lead |  | Lead | Lead | Lead | Lead
[9 empty] | Lead-lined galvanized | Lead | Lead |  | Galvanized | Lead | Galvanized | Non-Lead
[9 empty] | Galvanized | Galvanized | Lead |  | Non-Lead | Lead | Non-Lead | Non-Lead
[9 empty] | Non-Lead - Copper | Non-Lead | Lead |  | Material Unknown | Lead | Material Unknown | Lead Status Unknown
[9 empty] | Non-Lead - Plastic | Non-Lead | Galvanized |  | Lead | Lead
[9 empty] | Non-Lead - Other | Non-Lead | Galvanized |  | Galvanized | Non-Lead
[9 empty] | Unknown - Likely Lead | Material Unknown | Galvanized |  | Non-Lead | Non-Lead
[9 empty] | Unknown - Unlikely Lead | Material Unknown | Galvanized |  | Material Unknown | Lead Status Unknown
[9 empty] | Unknown - Material Unknown | Material Unknown | Non-Lead |  | Lead | Lead
[11 empty] | Non-Lead | Y | Galvanized | Galvanized Requiring Replacement
[9 empty] | Form Option For System Side | Classification | Non-Lead | N | Galvanized | Non-Lead
[9 empty] | Lead | Lead | Non-Lead | DN | Galvanized | Galvanized Requiring Replacement
[9 empty] | Lead-lined galvanized | Lead | Non-Lead |  | Non-Lead | Non-Lead
[9 empty] | Galvanized | Galvanized | Non-Lead |  | Material Unknown | Lead Status Unknown
[9 empty] | Non-Lead - Copper | Non-Lead | Material Unknown |  | Lead | Lead
[9 empty] | Non-Lead - Plastic | Non-Lead | Material Unknown |  | Galvanized | Galvanized Requiring Replacement
[9 empty] | Non-Lead - Other | Non-Lead | Material Unknown |  | Non-Lead | Lead Status Unknown
[9 empty] | Unknown - Likely Lead | Material Unknown | Material Unknown |  | Material Unknown | Lead Status Unknown
[9 empty] | Unknown - Unlikely Lead | Material Unknown
| system_owned_portion |  | customer_owned_portion | service_line_classification |  |  |  |  | Unknown - Material Unknown | Material Unknown
| System-Owned Portion | Was Previously Lead? | Customer-Owned Portion | Classification for Entire Service Line |  | IF( | ) AND ( | THEN
| Lead |  | Lead | Lead |  | IF(system_owned_portion=Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | IF(system_owned_portion=Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | IF(system_owned_portion="Lead") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Lead |  | Galvanized | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Lead"
| Lead |  | Non-Lead | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Lead"
| Lead |  | Material Unknown | Lead | ELSE | IF(system_owned_portion=Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead") AND (customer_owned_portion=Lead Status Unknown THEN service_line_classification="Lead"
| Galvanized |  | Lead | Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion=Lead THEN service_line_classification="Lead"
| Galvanized |  | Galvanized | Non-Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Galvanized2" THEN service_line_classification="Non-Lead"
| Galvanized |  | Non-Lead | Non-Lead | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Non-Lead"
| Galvanized |  | Material Unknown | Lead Status Unknown | ELSE | IF(system_owned_portion=Galvanized) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Galvanized) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Galvanized1") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Non-Lead |  | Lead | Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Non-Lead |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Galvanized2" THEN service_line_classification="Non-Lead"
| Non-Lead |  | Galvanized | Non-Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Non-Lead"
| Non-Lead |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Non-Lead") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Non-Lead |  | Non-Lead | Non-Lead | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Non-Lead | ELSEIF(system_owned_portion="Non-Lead, but system is unable to demonstrate it was not previously Lead") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Galvanized Requiring Replacement"
| Non-Lead |  | Material Unknown | Lead Status Unknown | ELSE | IF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Non-Lead) AND (customer_owned_portion=Material Unknown THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Lead" THEN service_line_classification="Lead"
| Material Unknown |  | Lead | Lead | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Lead THEN service_line_classification=Lead | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Galvanized Requiring Replacement" THEN service_line_classification="Galvanized Requiring Replacement"
| Material Unknown |  | Galvanized | Galvanized Requiring Replacement | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Galvanized THEN service_line_classification=Galvanized Requiring Replacement | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Non-Lead" THEN service_line_classification="Lead Status Unknown"
| Material Unknown |  | Non-Lead | Lead Status Unknown | ELSE | IF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion=Material Unknown) AND (customer_owned_portion=Non-Lead THEN service_line_classification=Lead Status Unknown | ELSEIF(system_owned_portion="Lead Status Unknown") AND (customer_owned_portion="Lead Status Unknown" THEN service_line_classification="Lead Status Unknown"
| Material Unknown |  | Material Unknown | Lead Status Unknown |  |  | ELSE service_line_classification = "CLASSIFICATION ERROR" | ELSE "CLASSIFICATION ERROR"

## Form Lists (hidden)
Tab | Form Control Lists
Detailed Inventory | Sensitive Population? (Y/N) | Service Line Material Classification* | If Non-Lead, Was Material Ever Previously Lead? | Basis of Material Classification | Was the Service Line Material Field Verified? | Select the Field Verification Method | Building Type Connected to Service Line | For CWSs, do Multi-family Residences (MFRs) Comprise at Least 20% of the Structures You Serve? | Is there a Lead Connector Present? | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed before your State's Lead Ban (Generally 1986 - 1988) | Current LCR Sampling Site? | Building Type Connected to Service Line | For CWSs, do Multi-family Residences (MFRs) Comprise at Least 20% of the Structures You Serve? | Is there a Lead Connector Present? | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed before your State's Lead Ban (Generally 1986 - 1988) | Current LCR Sampling Site?
| No | Lead | Yes | Previous materials evaluation | Yes | Visual inspection at meter pit | Single Family Residence | Yes | Yes | Yes | Yes | Yes | Single Family Residence | Yes | Yes | Yes | Yes | Yes
| Yes - School | Lead-lined galvanized | No | Installation record (e.g., tap card) | No | Customer self-identification | Multiple Family Residence | No | Known | No | No | No | Multiple Family Residence | No | Known | No | No | No
| Yes - Day Care | Galvanized | Don't know | Installation date is after the lead ban |  | CCTV Inspection at Curb Box - Internal | Building | N/A | Unknown | Unknown | Unknown |  | Building | N/A | Unknown | Unknown | Unknown
| Yes - Other | Non-Lead - Copper |  | Service line diameter is greater than 2 inches |  | CCTV inspection at Curb Box - External | Other | [5 empty] | Other
|  | Non-Lead - Plastic |  | Service line repair or replacement record |  | Water Quality Sampling - Targeted
|  | Non-Lead - Other |  | Statistical analysis |  | Water Quality Sampling - Flushed
|  | Unknown - Likely Lead |  | Field inspection only with no records |  | Water Quality Sampling - Sequential
|  | Unknown - Unlikely Lead |  | Water sampling only with no records |  | Water Quality Sampling - Other
|  | Unknown - Material Unknown |  | Other |  | Mechanical Excavation at 1 location
Mechanical Excavation at multiple locations
| Note to EPA: this is a background sheet to be hidden or deleted |  |  |  | Other